## Template
Record ID | Site/Facility | Building/Area/Asset Location | Asset/System/Service Inspected or Tested | Asset ID/Tag | Inspection/Test Type | Statutory/Routine Category | Legal/Regulatory/Other Requirement Reference | ISO 41001 Clause/Process Reference | Inspection/Test Standard or Method | Planned Frequency | Planned Due Date | Actual Inspection/Test Date | Inspection/Test Provider | Inspector/Tester Name | Competence/Certification Reference | Instrument/Equipment Used | Instrument Calibration Status | Acceptance Criteria/Pass Requirements | Results/Readings Observed | Result Status | Nonconformity/Defect Description | Risk/Severity Rating | Immediate Action Taken | Corrective/Follow-up Action Required | Action Owner | Target Completion Date | Actual Completion Date | Verification/Retest Date | Verification/Retest Result | Certificate/Report Reference | Evidence/File Link | Next Inspection/Test Due Date | Record Retention Period | Reviewed By | Review Date | Comments
[EXAMPLE: ITR-2025-0001] | [EXAMPLE: HQ Campus] | [EXAMPLE: Building A / Plant Room 2] | [EXAMPLE: Emergency Lighting System] | [EXAMPLE: ELS-BLDGA-001] | [EXAMPLE: Functional discharge test] | [EXAMPLE: Statutory] | [EXAMPLE: Local fire safety regulation / internal fire safety procedure FS-PR-04] | [EXAMPLE: ISO 41001:2018 Cl. 9.1 / FM-MON-01] | [EXAMPLE: Emergency lighting test checklist EL-CHK-02 v3] | [EXAMPLE: Monthly] | [EXAMPLE: 2025-02-28] | [EXAMPLE: 2025-02-26] | [EXAMPLE: Internal FM Team] | [EXAMPLE: J. Smith] | [EXAMPLE: Competent Person appointment CP-FIRE-014] | [EXAMPLE: N/A] | [EXAMPLE: Not Required] | [EXAMPLE: All fittings illuminate during test and no fault indicators present] | [EXAMPLE: 48 of 48 fittings operational] | [EXAMPLE: Pass] | [EXAMPLE: N/A] | [EXAMPLE: Green] | [EXAMPLE: N/A] | [EXAMPLE: N/A] | [EXAMPLE: N/A] | [EXAMPLE: N/A] | [EXAMPLE: N/A] | [EXAMPLE: N/A] | [EXAMPLE: Not Required] | [EXAMPLE: EL-MON-2025-02] | [EXAMPLE: https://repository.example/inspection-records/EL-MON-2025-02] | [EXAMPLE: 2025-03-31] | [EXAMPLE: 5 years] | [EXAMPLE: Facilities Compliance Manager] | [EXAMPLE: 2025-02-27] | [EXAMPLE: No access limitations reported]
[EXAMPLE: ITR-2025-0002] | [EXAMPLE: Distribution Centre 1] | [EXAMPLE: Goods Lift GL-02] | [EXAMPLE: Passenger/Goods Lift] | [EXAMPLE: LIFT-DC1-GL02] | [EXAMPLE: Statutory thorough examination] | [EXAMPLE: Statutory] | [EXAMPLE: Lift safety regulation / insurance inspection requirement] | [EXAMPLE: ISO 41001:2018 Cl. 9.1 / FM-COMP-02] | [EXAMPLE: Competent body lift examination procedure REF-LIFT-06] | [EXAMPLE: 6-Monthly] | [EXAMPLE: 2025-06-30] | [EXAMPLE: 2025-06-24] | [EXAMPLE: ABC Inspection Services Ltd] | [EXAMPLE: A. Patel] | [EXAMPLE: Engineer licence ENG-LIFT-7781] | [EXAMPLE: Load test kit LTK-445] | [EXAMPLE: Calibrated; due 2025-11-15] | [EXAMPLE: No safety-critical defects; lift operates within statutory examination criteria] | [EXAMPLE: Door interlock wear noted; lift operational] | [EXAMPLE: Conditional Pass] | [EXAMPLE: Door interlock shows wear and requires replacement within stated timeframe] | [EXAMPLE: Amber] | [EXAMPLE: Lift speed restricted and users notified] | [EXAMPLE: Replace door interlock and complete retest] | [EXAMPLE: Maintenance Supervisor] | [EXAMPLE: 2025-07-15] | [EXAMPLE: ] | [EXAMPLE: 2025-07-16] | [EXAMPLE: Pending] | [EXAMPLE: LOLER-DC1-GL02-2025-06] | [EXAMPLE: https://repository.example/statutory/lifts/LOLER-DC1-GL02-2025-06] | [EXAMPLE: 2025-12-24] | [EXAMPLE: Statutory period or life of asset, whichever is longer] | [EXAMPLE: FM Compliance Lead] | [EXAMPLE: 2025-06-25] | [EXAMPLE: Follow-up work order WO-45892 raised]

## Column Guidance
Column | What to enter
Record ID | Enter a unique identifier for this inspection/test record, e.g. ITR-YYYY-0001.
Site/Facility | Enter the name or code of the facility where the inspection/test was performed.
Building/Area/Asset Location | Enter the specific building, floor, room, zone, plant room, or external area inspected; use the organisation’s location naming convention.
Asset/System/Service Inspected or Tested | Enter the asset, system, infrastructure element, or FM service inspected/tested, e.g. fire alarm system, lift, HVAC unit, water hygiene, emergency lighting.
Asset ID/Tag | Enter the asset register ID, tag number, serial number, or system reference; enter N/A only where no asset ID exists.
Inspection/Test Type | Enter the type of inspection or test performed, e.g. visual inspection, functional test, statutory examination, compliance inspection, performance test, sampling, calibration check.
Statutory/Routine Category | Select one: Statutory, Regulatory, Contractual, Manufacturer Requirement, Internal Routine, Risk-Based, Other.
Legal/Regulatory/Other Requirement Reference | Enter the applicable legal, regulatory, contractual, manufacturer, or internal requirement reference driving the inspection/test; enter N/A for purely discretionary checks.
ISO 41001 Clause/Process Reference | Enter the relevant ISO 41001 or FM process reference, normally ISO 41001:2018 Cl. 9.1 and any internal procedure/control ID.
Inspection/Test Standard or Method | Enter the procedure, checklist, standard, manufacturer instruction, or test method used, including document number and version where applicable.
Planned Frequency | Enter the required frequency, e.g. Daily, Weekly, Monthly, Quarterly, 6-Monthly, Annual, 5-Yearly, Event-Based, Risk-Based.
Planned Due Date | Enter the scheduled due date for the inspection/test in YYYY-MM-DD format.
Actual Inspection/Test Date | Enter the date the inspection/test was completed in YYYY-MM-DD format.
Inspection/Test Provider | Enter Internal or the name of the external contractor/competent body that performed the inspection/test.
Inspector/Tester Name | Enter the full name of the person who performed the inspection/test.
Competence/Certification Reference | Enter the licence, qualification, authorisation, appointment, training record, or competent person certificate reference; enter N/A if not applicable.
Instrument/Equipment Used | Enter any test instrument, meter, analyser, gauge, or equipment used, including equipment ID where applicable; enter N/A if no instrument was used.
Instrument Calibration Status | Enter Calibrated, Not Required, Out of Calibration, or Unknown; where calibrated, include calibration due date in YYYY-MM-DD format.
Acceptance Criteria/Pass Requirements | Enter the measurable or observable criteria used to determine pass/fail, including thresholds, limits, tolerances, or checklist requirements.
Results/Readings Observed | Enter the actual observed result, reading, measurement, or inspection finding, including units where applicable, e.g. °C, bar, lux, ppm, %, minutes.
Result Status | Select one: Pass, Fail, Conditional Pass, Not Tested, Not Applicable.
Nonconformity/Defect Description | If the result is Fail or Conditional Pass, describe the defect, nonconformity, unsafe condition, missed requirement, or limitation; enter N/A if none.
Risk/Severity Rating | Select the assessed risk or severity using the organisation’s scale, e.g. Low, Medium, High, Critical, or RAG: Green, Amber, Red.
Immediate Action Taken | Enter any action taken at the time of inspection/test to make safe, isolate, repair, escalate, or control the issue; enter N/A if none.
Corrective/Follow-up Action Required | Enter the action required to correct the defect/nonconformity or improve performance; enter N/A if no follow-up is required.
Action Owner | Enter the named role or person responsible for completing the corrective/follow-up action; enter N/A if no action is required.
Target Completion Date | Enter the planned completion date for the corrective/follow-up action in YYYY-MM-DD format; enter N/A if no action is required.
Actual Completion Date | Enter the actual date the corrective/follow-up action was completed in YYYY-MM-DD format; leave blank until completed or enter N/A if no action is required.
Verification/Retest Date | Enter the date the completed action was verified or retested in YYYY-MM-DD format; enter N/A if verification/retest is not required.
Verification/Retest Result | Select one: Pass, Fail, Accepted by Risk Assessment, Not Required, Pending.
Certificate/Report Reference | Enter the certificate number, inspection report number, work order number, or service report reference generated from the inspection/test.
Evidence/File Link | Enter the controlled repository link or file path to the certificate, report, checklist, photos, readings, or signed record.
Next Inspection/Test Due Date | Enter the next required due date in YYYY-MM-DD format, calculated from the applicable frequency, statutory interval, risk assessment, or provider recommendation.
Record Retention Period | Enter the required retention period for this record, e.g. 3 years, 5 years, life of asset, statutory period, or as defined in the document retention schedule.
Reviewed By | Enter the full name or role of the person who reviewed the record for completeness, compliance, and required actions.
Review Date | Enter the date the record was reviewed in YYYY-MM-DD format.
Comments | Enter any additional relevant notes, exclusions, access limitations, operational constraints, or cross-references; enter N/A if none.

## Notes
Maintenance
Owned by the Facilities Compliance Manager or FM Compliance Lead and updated after each statutory, regulatory, contractual, risk-based, or routine inspection/test, with periodic review at least monthly for overdue actions and at least annually for template adequacy. Source data should be drawn from the CAFM/CMMS, asset register, statutory compliance register, contractor inspection reports, certificates, work orders, and controlled document repository.