## Template
Service ID | Service Name | FM Service Category | Service Description | Business Need / Demand Requirement | Service Customer / Recipient | Site(s) / Asset(s) Covered | Scope Included | Scope Excluded | Service Owner | Service Delivery Provider | Provider Type | Contract / Agreement Reference | SLA Reference | Service Availability / Operating Hours | Request / Access Channel | Priority Levels Applicable | Response Time SLA | Resolution / Completion Time SLA | Performance KPI(s) | Service Quality / Acceptance Criteria | Planned Frequency / Schedule | Statutory / Regulatory Requirements | ISO 41001 Process / Procedure Reference | Required Resources / Competencies | Criticality | Continuity / Contingency Requirement | Key Risks / Operational Controls | Interfaces / Dependencies | Monitoring Method | Reporting Frequency | Escalation Route | Change Control Requirement | Current Status | Last Review Date | Next Review Due Date | Record Owner
[EXAMPLE: FMS-0001] | [EXAMPLE: Planned Preventive Maintenance] | [EXAMPLE: Hard FM] | [EXAMPLE: Scheduled maintenance of building plant and equipment to maintain availability, safety, and compliance.] | [EXAMPLE: Maintain operational continuity and meet statutory maintenance obligations for critical building systems.] | [EXAMPLE: All building occupants and Operations Department] | [EXAMPLE: HQ-01; AHU-001 to AHU-012; LIFT-001 to LIFT-004] | [EXAMPLE: Planned inspections, servicing, lubrication, filter changes, statutory maintenance tasks, and maintenance records.] | [EXAMPLE: Capital replacement projects and tenant-owned specialist equipment.] | [EXAMPLE: Facilities Maintenance Manager] | [EXAMPLE: ABC Technical Services Ltd] | [EXAMPLE: Outsourced] | [EXAMPLE: CON-2026-014] | [EXAMPLE: SLA-HFM-001] | [EXAMPLE: Mon-Fri 08:00-18:00 with emergency callout 24/7] | [EXAMPLE: CAFM planned maintenance module and helpdesk] | [EXAMPLE: P1 Critical, P2 High, P3 Medium, P4 Low] | [EXAMPLE: P1 15 min; P2 1 hr; P3 4 hrs; P4 1 business day] | [EXAMPLE: P1 4 hrs temporary restoration; P2 1 business day; planned tasks by scheduled due date] | [EXAMPLE: 95% PPM completed by due date; 95% reactive jobs completed within SLA; zero overdue statutory tasks] | [EXAMPLE: Work order completed, asset record updated, and statutory certificate uploaded where required.] | [EXAMPLE: As per PPM schedule SCH-HFM-001] | [EXAMPLE: LOLER, PUWER, Electricity at Work Regulations, local fire safety regulations] | [EXAMPLE: PROC-FM-8.1-PPM; WI-PTW-002] | [EXAMPLE: Competent mechanical/electrical technicians, certified lift contractor, calibrated test equipment, approved spares.] | [EXAMPLE: Critical] | [EXAMPLE: Emergency callout contractor available 24/7; temporary plant available within 24 hours for critical HVAC failure.] | [EXAMPLE: Risk of statutory noncompliance controlled through CAFM due-date alerts, permit to work, RAMS, and monthly compliance review.] | [EXAMPLE: CAFM, asset register, procurement, security access control, energy management system.] | [EXAMPLE: CAFM KPI reports, supervisor inspections, statutory certificate review, monthly supplier meeting.] | [EXAMPLE: Monthly] | [EXAMPLE: Helpdesk to FM Duty Manager to Facilities Maintenance Manager to Head of Facilities.] | [EXAMPLE: FM Change Request and contract variation approval required for scope or SLA changes.] | [EXAMPLE: Active] | [EXAMPLE: 2026-01-15] | [EXAMPLE: 2027-01-15] | [EXAMPLE: FM Service Catalogue Manager]
[EXAMPLE: FMS-0002] | [EXAMPLE: Daily Office Cleaning] | [EXAMPLE: Soft FM] | [EXAMPLE: Routine cleaning of offices, welfare areas, circulation spaces, and meeting rooms to maintain hygiene and workplace standards.] | [EXAMPLE: Provide clean, safe, and usable workplace areas for staff, visitors, and contractors.] | [EXAMPLE: All staff and visitors at HQ] | [EXAMPLE: HQ-01 floors 1-5 excluding tenant-demised areas] | [EXAMPLE: Desk-area cleaning, waste removal, washroom cleaning, consumables replenishment, floor cleaning, and periodic deep cleaning.] | [EXAMPLE: Specialist biohazard cleaning, pest control, and cleaning inside secure server rooms unless separately authorised.] | [EXAMPLE: Workplace Services Manager] | [EXAMPLE: In-house Cleaning Team] | [EXAMPLE: Internal] | [EXAMPLE: ISA-SFM-002] | [EXAMPLE: SLA-SFM-002] | [EXAMPLE: Mon-Fri 06:00-10:00 and 17:00-21:00 excluding public holidays] | [EXAMPLE: Planned cleaning schedule and CAFM helpdesk for ad hoc requests] | [EXAMPLE: P2 High, P3 Medium, P4 Low] | [EXAMPLE: P2 1 hr; P3 4 hrs; P4 1 business day] | [EXAMPLE: P2 same business day; P3 1 business day; P4 3 business days] | [EXAMPLE: 90% audit score minimum; 95% helpdesk requests completed within SLA; washroom consumables replenished daily.] | [EXAMPLE: Cleaning inspection score meets agreed standard and user complaints are closed within SLA.] | [EXAMPLE: Daily with monthly quality inspections] | [EXAMPLE: Workplace health and safety requirements; COSHH or local chemical safety requirements] | [EXAMPLE: PROC-FM-8.1-CLEAN; WI-COSHH-001] | [EXAMPLE: Trained cleaning operatives, approved cleaning chemicals, COSHH assessments, PPE, cleaning equipment.] | [EXAMPLE: Medium] | [EXAMPLE: Cover roster maintained for absence; priority cleaning response available for spills and hygiene incidents.] | [EXAMPLE: Slip hazard and chemical exposure controlled through training, signage, COSHH controls, PPE, and supervisor checks.] | [EXAMPLE: Waste management service, security access, room booking system, washroom consumables supplier.] | [EXAMPLE: Cleaning audits, helpdesk reports, supervisor inspections, customer feedback.] | [EXAMPLE: Monthly] | [EXAMPLE: Cleaner to Cleaning Supervisor to Workplace Services Manager to Head of Facilities.] | [EXAMPLE: Management approval required for frequency, area, or staffing changes.] | [EXAMPLE: Active] | [EXAMPLE: 2026-02-01] | [EXAMPLE: 2027-02-01] | [EXAMPLE: Workplace Services Manager]

## Column Guidance
Column | What to enter
Service ID | Enter a unique catalogue identifier for the FM service, using a controlled format such as FMS-0001; do not reuse IDs.
Service Name | Enter the formal name of the FM service as it should appear in the approved service catalogue.
FM Service Category | Enter the service category, for example Hard FM, Soft FM, Workplace, Security, Cleaning, Catering, Grounds, Waste, Helpdesk, Energy, Space Management, or Other.
Service Description | Enter a concise description of what the service delivers and its intended outcome.
Business Need / Demand Requirement | Enter the identified organisational need, user requirement, demand driver, or operational requirement that justifies the service.
Service Customer / Recipient | Enter the internal or external customer group receiving the service, such as All Staff, Tenants, Visitors, Manufacturing, Data Centre Operations, or Named Department.
Site(s) / Asset(s) Covered | Enter the buildings, locations, zones, systems, or assets covered by the service; use site codes or asset register IDs where available.
Scope Included | Enter the specific activities, assets, tasks, service boundaries, and deliverables included in the service.
Scope Excluded | Enter activities, assets, tasks, or responsibilities explicitly excluded from the service to prevent ambiguity.
Service Owner | Enter the accountable internal role or named position responsible for defining and controlling the service.
Service Delivery Provider | Enter the internal team, contractor, supplier, or managing agent delivering the service.
Provider Type | Enter one allowed value: Internal, Outsourced, Hybrid, Landlord Provided, or Tenant Provided.
Contract / Agreement Reference | Enter the contract, purchase order, memorandum of understanding, internal service agreement, or supplier agreement reference; enter N/A only where no agreement applies.
SLA Reference | Enter the approved SLA, OLA, or service specification reference that defines agreed service levels; every active service should have an SLA reference.
Service Availability / Operating Hours | Enter the days and times the service is available, using clear format such as Mon-Fri 08:00-18:00, 24/7, or Business Hours excluding public holidays.
Request / Access Channel | Enter how users request or access the service, such as CAFM portal, helpdesk phone, email, planned schedule, BMS alert, or walk-up desk.
Priority Levels Applicable | Enter the priority categories used for this service, such as P1 Critical, P2 High, P3 Medium, P4 Low; align to the organisation's helpdesk or CAFM priority model.
Response Time SLA | Enter the agreed maximum time to acknowledge, attend, or respond by priority, including units, for example P1 15 min, P2 1 hr, P3 4 hrs.
Resolution / Completion Time SLA | Enter the agreed maximum time to restore, resolve, or complete by priority or task type, including units, for example P1 4 hrs, P2 1 business day.
Performance KPI(s) | Enter measurable performance indicators for the service, including target values and units, for example 95% jobs completed within SLA, <3 complaints/month.
Service Quality / Acceptance Criteria | Enter the defined standard for accepting the service as satisfactorily delivered, such as inspection pass score, statutory certificate issued, user sign-off, or no repeat fault within 7 days.
Planned Frequency / Schedule | Enter the planned delivery frequency or schedule, such as Daily, Weekly, Monthly, Quarterly, Annually, On Demand, Reactive Only, or attach schedule reference.
Statutory / Regulatory Requirements | Enter applicable legal, regulatory, code, licence, permit, or compliance obligations for the service; include regulation name or reference where known.
ISO 41001 Process / Procedure Reference | Enter the internal FM procedure, operational control, method statement, work instruction, or process reference used to control delivery of this service.
Required Resources / Competencies | Enter required people, skills, certifications, tools, equipment, materials, or authorisations needed to deliver the service safely and effectively.
Criticality | Enter one allowed value: Critical, High, Medium, or Low, based on impact to business operations, safety, compliance, service users, and asset performance.
Continuity / Contingency Requirement | Enter the fallback, resilience, standby, emergency, or business continuity requirement for the service, including maximum tolerable disruption where applicable.
Key Risks / Operational Controls | Enter the main operational risks and the controls used to manage them, such as permit to work, RAMS, statutory inspection, access control, supervision, or supplier assurance.
Interfaces / Dependencies | Enter other services, systems, departments, suppliers, utilities, assets, or processes this service depends on or affects.
Monitoring Method | Enter how performance and conformity are monitored, such as CAFM reports, inspections, audits, BMS alarms, customer surveys, supplier reports, or statutory certificates.
Reporting Frequency | Enter how often performance is reported, such as Weekly, Monthly, Quarterly, Annually, Per Event, or On Request.
Escalation Route | Enter the escalation path for missed SLAs, incidents, nonconformities, or service failures, including roles or teams rather than personal names where possible.
Change Control Requirement | Enter how changes to scope, SLA, provider, schedule, or service level are approved, such as FM Change Request, Contract Variation, Management Approval, or CAB.
Current Status | Enter one allowed value: Draft, Active, Suspended, Under Review, Retired.
Last Review Date | Enter the date this service catalogue entry was last formally reviewed, in YYYY-MM-DD format.
Next Review Due Date | Enter the next scheduled review date, in YYYY-MM-DD format.
Record Owner | Enter the role responsible for maintaining this catalogue entry, such as FM Service Catalogue Manager, Facilities Manager, Contract Manager, or Workplace Services Manager.

## Notes
Maintenance
The FM Service Catalogue Manager owns this template, with service owners responsible for keeping their entries current; it should be reviewed at least annually and whenever a service, SLA, provider, site, statutory requirement, or operating model changes. Source data should be drawn from the CAFM/IWMS platform, approved SLAs and contracts, asset register, statutory compliance register, and FM operating procedures.